## Slide 1: Module – 12 Remote Replication
Module 12: Remote Replication
Notes: Module – 12
Remote Replication
Module 12: Remote Replication

## Slide 2
Upon completion of this module, you should be able to:
  Explain synchronous and asynchronous replication mode
  Describe host-based, array-based, and network-based remote replication technologies
  Describe three-site remote replication
  Explain data migration solution
  Describe remote replication and migration in virtualized environment
Module 12: Remote Replication
Notes: Module 12: Remote Replication

## Slide 3
Module 12: Remote Replication
Lesson 1: Remote Replication Overview
  During this lesson the following topics are covered:
  Synchronous and asynchronous remote replication
  Bandwidth requirement for synchronous and asynchronous remote replication
Notes: Module 12: Remote Replication

## Slide 4: What is Remote Replication?
Process of creating replicas at remote sites
  Addresses risk associated with regionally driven outages
Modes of remote replication
  Synchronous
  Asynchronous
Storage Array – Source site
Storage Array – Remote site
REPLICATION
Notes: Module 12: Remote Replication

## Slide 5: Synchronous Replication – 1
A write is committed to both source and remote replica before it is acknowledged to the host
Ensures source and replica have identical data at all times
  Maintains write ordering
Provides near-zero RPO
1
3
4
2
Data Write
Data Acknowledgment
Host
Target at
Remote Site
Source
Notes: Module 12: Remote Replication

## Slide 6: Synchronous Replication – 2
  Response time depends on bandwidth and distance
Requires bandwidth more than the maximum write workload
Typically deployed for distance less than 200 km (125 miles) between two sites
Time
Writes
MB/s
Required bandwidth
Typical workload
Max
Notes: Module 12: Remote Replication

## Slide 7: Asynchronous Replication – 1
A write is committed to the source and immediately acknowledged to the host
Data is buffered at the source and transmitted to the remote site later
Finite RPO
  Replica will be behind the source by a finite amount
1
4
2
3
Data Write
Data Acknowledgment
Host
Target
Source
Notes: Module 12: Remote Replication

## Slide 8: Asynchronous Replication – 2
RPO depends on size of buffer and available network bandwidth
Requires bandwidth equal to or greater than average write workload
Sufficient buffer capacity should be provisioned
Can be deployed over long distances
Average
Time
Writes
MB/s
Required
bandwidth
Typical
workload
Notes: Module 12: Remote Replication

## Slide 9
During this lesson the following topics are covered:
  Host-based, storage array-based, and network-based remote replication technologies
  Three-site remote replication
  Data migration solution
  Remote replication in virtualized environment
Lesson 2: Remote Replication Technologies
Module 12: Remote Replication
Notes: Module 12: Remote Replication

## Slide 10: Remote Replication Technologies
Host-based
LVM-based
Log shipping
Storage array-based
Synchronous
Asynchronous
Network-based
Remote Replication
Disk-buffered

## Slide 11: Host-based Remote Replication
  Replication is performed by host-based software
LVM-based replication
  All writes to the source volume group are replicated to the target volume group by the LVM
  LVM on the remote host receives the writes and commits them to the remote volume group
  Prior to replication
    Identical volume groups, logical volumes, and file systems are created at the source and target sites
    Initial synchronization of data between the source and replica is performed
    One method to perform initial synchronization is to backup the source data and restore the data to the remote replica
Notes: Module 12: Remote Replication

## Slide 12: Host-based Remote Replication
LVM-based replication
  Prior to replication
    Identical volume groups, logical volumes, and file systems are created at the source and target sites
    Initial synchronization of data between the source and replica is performed
    One method to perform initial synchronization is to backup the source data and restore the data to the remote replica
    Alternatively, it can be performed by replicating over the IP network
    Until the completion of the initial synchronization, production work on the source volumes is typically halted
    Production work can be started on the source volumes and replication of data can be performed over an existing standard IP network after synchronization
Notes: Module 12: Remote Replication

## Slide 13: Host-based Remote Replication
LVM-based replication
  Supports both synchronous and asynchronous modes of replication
  If a failure occurs at the source site, applications can be restarted on the remote host, using the data on the remote replicas
Notes: Module 12: Remote Replication

## Slide 14: Host-based Remote Replication
Log shipping
  Transactions to source database are captured in logs and periodically transferred to remote host
  Remote host receives the logs and applies them to the remote database
  Prior to starting production work and replication of log files, all relevant components of the source database are replicated to the remote site
    Done while the source database is shut down
  RPO at the remote site is finite and depends on the size of the log and the frequency of log switching
  Available network bandwidth, latency, rate of updates to the source database, and the frequency of log switching should be considered when determining the optimal size of the log file
Notes: Module 12: Remote Replication

## Slide 15: Storage Array-based Remote Replication – 1
Replication is performed by array-operating environment
Three replication methods: synchronous, asynchronous, and disk buffered
Synchronous
  Writes are committed to both source and replica before it is acknowledged to host
Asynchronous
  Writes are committed to source and immediately acknowledged to host
  Data is buffered at source and transmitted to remote site later
Notes: Module 12: Remote Replication

## Slide 16: Storage Array-based Remote Replication – 2
Production host writes data to source device.
Data from local replica is transmitted to the remote replica at target.
A consistent PIT local replica of the source device is created.
Optionally a PIT local replica of the remote replica on the target is created.
Source Array
Target Array
Local Replica
Remote Replica
Local Replica
Production Host
Source Device
Disk-buffered
Notes: Module 12: Remote Replication

## Slide 17: Network-based Replication – Continuous Data Protection
Provides any-point-in-time recovery capability during its normal operation
Components of CDP
  CDP appliance
  Write splitter
  Journal volume
CDP appliances are present at both source and remote sites
Supports both synchronous and asynchronous replication modes
Notes: Module 12: Remote Replication

## Slide 18: CDP Remote Replication Operation
SAN
SAN
Host
Production Volume
Local
CDP Appliance
Replica
CDP Journal
Write Splitter
Remote
Storage Array
Source
Storage Array
Remote
CDP Appliance
SAN/
WAN
Notes: Module 12: Remote Replication

## Slide 19: Three-site Replication
Data flows from the source to the intermediate storage array, known as a bunker
Data from source site is replicated to two remote sites
  Replication is synchronous to one of the remote sites and asynchronous or disk buffered to the other remote site
Mitigates the risk in two site replication
  No DR protection after source or remote site failure
  Regional disaster – both the source and the target sites might become unavailable
Implemented in two ways:
  Cascade/multihop
  Triangle/multitarget
Notes: Module 12: Remote Replication

## Slide 20: Three-site Replication
Three-site Replication
Cascade / Multihop
Synchronous + Disk Buffered
Synchronous + Asynchronous
Triangle / Multitarget

## Slide 21: Cascade/Multihop - Synchronous + Disk Buffered
Employs a combination of local and remote replication technologies
Synchronous replication occurs between the source and the bunker; a consistent PIT local replica is created at the bunker
Data is transmitted from the local replica at the bunker to the remote replica at the remote site
Optionally, a local replica can be created at the remote site after data is received from the bunker
Minimum of 4 storage volumes are required (including the source) to replicate one storage device

## Slide 22: Three-site Replication: Cascade/Multihop
Bunker Site
Remote Site
Local Replica
Remote Replica
Source Device
Synchronous
Remote Replica
Disk Buffered
Source Site
Bunker Site
Remote Site
Remote Replica
Source Device
Synchronous
Remote Replica
Asynchronous
Source Site
Synchronous + Disk Buffered
Synchronous + Asynchronous
Notes: Module 12: Remote Replication

## Slide 23: Cascade/Multihop - Synchronous + Asynchronous
Synchronous replication occurs between the source and the bunker
Asynchronous replication occurs between the bunker and the remote site
Replica in the bunker acts as the source for asynchronous replication to create a remote replica at the remote site
Minimum of 3 storage volumes are required (including the source)
If a disaster occurs at the source, production operations are failed over to the bunker site with zero or near-zero data loss
RPO at the remote site depends on the time difference between the bunker site failure and source site failure

## Slide 24: Three-site Replication: Cascade/Multihop
Bunker Site
Remote Site
Local Replica
Remote Replica
Source Device
Synchronous
Remote Replica
Disk Buffered
Source Site
Bunker Site
Remote Site
Remote Replica
Source Device
Synchronous
Remote Replica
Asynchronous
Source Site
Synchronous + Disk Buffered
Synchronous + Asynchronous
Notes: Module 12: Remote Replication

## Slide 25: Three-site Replication: Triangle/Multitarget
Data at the source storage array is concurrently replicated to two different arrays at two different sites
Source-to-bunker site (target 1) replication is synchronous with a near-zero RPO
Source-to-remote site (target 2) replication is asynchronous with an RPO in the order of minutes
Does not depend on the bunker site for updating data on the remote site because data is asynchronously copied to the remote site directly from the source
Failure of the bunker or the remote site is not really considered as a disaster because the operation can continue uninterrupted at the source site while remote DR protection is still available

## Slide 26: Three-site Replication: Triangle/Multitarget
Asynchronous
with
Differential
Resynchronization
Source Site
Synchronous
Asynchronous
Bunker Site
Remote Site
Source Device
Remote Replica
Remote Replica
Notes: Module 12: Remote Replication

## Slide 27: Data Migration Solution
Specialized replication technique that enables creating remote point-in-time copies
  Used for data mobility, migration, and disaster recovery
Moves data between heterogeneous storage arrays
  Array performing replication operations is called control array
    Push: Data is pushed from control array to remote array
    Pull: Data is pulled to the control array from remote array
Remote Array
Control Array
PUSH
PULL
Control Device
Remote Device
Notes: Module 12: Remote Replication

## Slide 28: Data Migration Solution
Push/pull operations can be either hot or cold
Cold operation
  Control device is inaccessible to the host during replication
  Guarantee data consistency because both the control and the remote devices are offline
Hot operation
  Control device is online for host operations
  Changes can be made to the control device because the control array can keep track of all changes, and thus ensure data integrity

## Slide 29: Remote Replication/Migration in Virtualized Environment
Remote mirroring of virtual volume
  Virtual volumes assigned to hosts are mirrored to two different sites
VM migration
  Moving VMs from one location to another without powering off VMs
  Commonly used techniques for VM migration are:
    Hypervisor-to-hypervisor
    Array-to-array
Notes: Module 12: Remote Replication

## Slide 30: Remote Mirroring of Virtual Volume
Data Center 2
Data Center 1
Storage Array
Storage Array
LUN
Server
Server
Virtual Volume
Virtualization
Layer
FC or IP
FC SAN
FC SAN
I/Os
I/Os
LUN
Virtualization
Appliance
Virtualization
Appliance
Storage
Pool
Notes: Module 12: Remote Replication

## Slide 31: VM Migration: Hypervisor-to-Hypervisor
Active state of a VM is moved from one hypervisor to another
  Copies the contents of virtual machine memory from the source hypervisor to the target
This technique requires source and target hypervisor access to the same storage
Host
Host
VM Migration
1
2
2
2
2
2
Notes: Module 12: Remote Replication

## Slide 32: VM Migration: Array-to-Array
VM files are moved from source array to remote array
Can move VMs across dissimilar storage arrays
Balances storage utilization by redistributing VMs to different storage arrays
Host
VM Migration
Source Array
Remote Array
VM2
VM1
VM1
VM1
1
2
Notes: Module 12: Remote Replication

## Slide 33: Module 12: Remote Replication
  EMC Symmetrix Remote Data Facility (SRDF)
  EMC MirrorView
  EMC RecoverPoint
Concept in Practice
Notes: Module 12: Remote Replication

## Slide 34: EMC SRDF
Offers a family of solutions to implement array-based remote replication
Minimizes performance impact on applications and hosts
SRDF Family
SRDF/S
Synchronous for zero data exposure
SRDF/A
Asynchronous for extended distances
SRDF/DM
Efficient Symmetrix-to-Symmetrix data mobility
SRDF/Star
Multi-site replication option
SRDF/AR
Automated Replication option
SRDF/CE
Cluster Enabler option
Cascaded SRDF and SRDF/EDP
Extended Distance Protection
Concurrent SRDF
Concurrent Replication
SRDF/CG
Consistency Groups
Notes: Module 12: Remote Replication

## Slide 35: EMC MirrorView
Replicates data from a primary volume to a secondary volume that reside on different VNX storage systems
  Uses a bitmap to track host writes while the link to the secondary array is down
  When secondary is available, sends only changed data
MirrorView family consists of:
  MirrorView/Synchronous (MirrorView/S)
  MirrorView/Asynchronous (MirrorView/A)
Notes: Module 12: Remote Replication

## Slide 36: EMC RecoverPoint
RecoverPoint Continuous Remote Replication (CRR) provides both synchronous and asynchronous remote replication
Dynamically switches between synchronous and asynchronous replication
  Based on the policy for performance and latency
Capable to recover data remotely to any PIT
Notes: Module 12: Remote Replication

## Slide 37: Module 12: Summary
Key points covered in this module:
Synchronous and asynchronous replication mode
Host-based, array-based, and network-based remote replication
Three-site remote replication
Data migration solution
Remote replication and migration in virtualized environment
Notes: Module 12: Remote Replication